## Slide 1
EventAcquisition
Signal Source
Intensity
Arrival Time
Pulse width (spread of times)
NSB Source
rate
Photosensor
PDE
SPE Spectrum (ENF->OPCT + SPE sigma)
Gain [electronic noise]
DCR [NSB Source]
Time resolution/jitter
Analogue Electronics
get_continuous_readout
Signal Photoelectrons
Signal Photons
NSB Photons
NSB Photoelectrons
+
Photoelectrons
PhotoelectronSource
No equivalent in simulation
Pulse Shaping
Shape
Convolution with Photoelectrons
No direct equivalent, but accounted for by other parameters (listed in [])
AC Coupling
Preamplifier
Gain [electronic noise]
Noise [electronic noise]
Continuous Readout
Configuration in Camera class
T5TEA
get_superpixel_digital_trigger_line
Superpixel Trigger
Trigger Threshold
Input ch-ch skew
Output ch-ch skew
Pulse-pulse jitter
Superpixel Digital Trigger Line
Backplane
get_backplane_trigger
Backplane Trigger
Superpixel NN
Coincidence Window [added to digital trigger line]
Trigger line 1ns sampling
Input ch-ch skew
List of Backplane Trigger Times
TARGET C
get_sampled_waveform
Sampling
Sampling rate
Number of samples
Lookback time
Digital noise [electronic noise]
Ch-ch skew
Pulse-pulse jitter
Waveforms
Trigger Efficiency
Charge Resolution
Trigger times can instead be manually defined, if the trigger logic is not needed (e.g. Charge resolution investigation)